Section VII. Technical Specifications

| Item | Specification | Statement of Compliance |
| --- | --- | --- |
| I | CONTRACT DURATION The contract for the Supply, Delivery & Installation of Generator Set with Automatic Transfer Switch (ATS) shall commence from the date of delivery until the duration of warranty period of one (1) year. | (Indicate also the brand name, model and detailed specification with supporting brochure and related literature) |
| II | AREAS COVERED/DELIVERY REQUIREMENTS: The Supplier shall provide the office with the equipment at SLSU Main Campus, Sogod, Southern Leyte within sixty (60) calendar days from receipt or effectivity date as specified in the Notice to Proceed (NTP). |  |
| III | TECHNICAL REQUIREMENTS The Supplier shall provide the equipment to SLSU-Main Campus with the following specifications: GENERATOR SET with Automatic Transfer Switch Specifications: 150 KVA – 3 Phase 230 – 480 Volts 60 Hertz Diesel-fed Engine ATS Connection 230V x 400 ampers – 3 Phase Inclusions: Training, Installation, Commissioning and Testing Deliver to SLSU Warranty |  |
|  | The Contract for the Supply & Delivery of Generator Set may be pre-terminated by SLSU-Main Campus for any violation of the terms of the contract. In case of pre-termination, the Supplier shall be informed by SLSU-Main Campus thirty (30) days prior to such termination. In case of pre-termination, the Supplier shall be liable for liquidated damages equivalent to one-tenth (1/10th) of one percent (1%) of the undelivered portion of the contract as provided by the Government Accounting and Auditing Manual (GAAM) and forfeiture of the Performance Security. The SLSU-Main Campus have the right to blacklist the Supplier in case of pre-termination and to forfeit the Performance Security. |  |