Section VI. Specifications

Project:		Proposed Construction of Graduate School Building Roof Deck Shed

Location:	SLSU-Main Campus, Sogod, Southern Leyte

Owner:		Southern Leyte State University

| Item No. | - Description |
| --- | --- |
| - 1.0 | Site Preparation - Chipping of Existing Floor for Concrete Columns - Relocation of Access Stair for the Upper Roof Deck |
| - 2.0 | Concrete Works - Columns |
| - 3.0 | Rebar Works Columns |
| - 4.0 | Formworks and Scaffoldings - Fabrication, Installation and dismantling of forms and scaffoldings |
| - 6.0 | Steel Works - Fabrication and Installation of Trusses and Roof Framing Accessories (includes - application of Primer, rust-off gray) |
| - 7.0 | Roofing Works - Installation of Roofing Sheets (Rib-Type, Pre-painted) - Installation of Ridge Roll and Metal Fascia (Pre-painted) |
| - 10.0 | Electrical Works - Roughing-ins |
| - 14.0 | Painting Works - Masonry Painting |

Section VII. Drawings

Insert here a list of Drawings.  The actual Drawings, including site plans, should be attached to this section or annexed in a separate folder.